# Biomed

ID # _____

APPLICATION FOR EQUIPMENT ACCEPTANCE

# FOR RESEARCH USE

Device (name or description):

Research Study Title:

IRB #: 	   Date of IRB Approval:

Investigator Name: 	                               Phone:

Manufacturer: 	   Vendor/Sponsor Contact:

Address:

Address                                                                                                                 City                       State             Zip

Phone:

| Device is powered by? |  |
| --- | --- |
| Are any batteries needed or used? (list) |  |
| If 110V AC, does the device have a hospital grade plug or is it double insulated? |  |
| Does the device meet AAMI electrical leakage conditions? |  |
| Two (2) operator manuals will be included? |  |
| Service and preventive maintenance is provided by? |  |
| Any special requirements for installation? (list) |  |
| Please attach a list of all simulators, probes, cables, etc., needed for proper operation, along with name and address of manufacturer if different than previously identified. |  |
| Recommended minimum calibration and preventive maintenance periods are? |  |
| Fluid spill protection is (0-10, 0 is poor)? |  |
| Device emits radiofrequency waves (RF), x-rays, electromagnetic fields, etc.? Describe. |  |
| Device is susceptible to RF, electromagnetic fields or power line interference? Describe. |  |
| Device uses or may emit radioactive or toxic materials? Describe. |  |
| Device is susceptible to mechanical jarring or vibration? Rate 0-10, with 0 being fragile. |  |
| Temperature operating range? |  |
| Recommended method of cleaning and/or sterilization? |  |
| Total weight? |  |
| Will MED staff be expected to use this equipment? |  |
| On site inservice training? Conducted by? |  |

Comments:

Evaluated in-house?      Yes      No                          Approved for use in The MED?      Yes      No

Evaluated by whom? 	   Date:

signature